## Slide 1: Electrical Safety
Chapter 2 Section 6
Pages 71 - 73

## Slide 2
Objective: Understand electrical safety procedures
Short Circuit: A connection that allows current to
take the path of least resistance.
The human body depends on electrical signals. Tiny
electrical pulses control the beating of your heart,
breathing & muscle movement.
An electric current from outside your body could
interfere with the body’s electrical signals.
A current greater than 0.2 Amps can cause burns or
stop your heart. A household light bulb has about
0.5 amps of current in it.

## Slide 3
One way to protect people from electric shock and
other electric danger is to provide an alternate path
for electric current.
A circuit is electrically grounded when charges are
able to flow directly from the circuit into Earth in the
event of a short circuit.
*The Third Prong on a plug connects any metal
pieces of the appliance to the ground wire of a
building. If there is a short circuit, the electric
current goes into the ground instead of you.
*Other ways to protect yourself from electric shock
Keep your skin dry (wet skin is less resistant)
Wear rubber soled shoes
Stand on a rubber work mat

## Slide 4
In order to prevent circuits from overloading, devices
called fuses and circuit breakers are added to the
circuit.
FUSE: Device that contains a thin strip of metal that
Will melt if too much current flows through it.
A disadvantage of using fuses is that once it burns
out it must be replaced.
Circuit Breaker: A reusable safety switch that uses
An electromagnet to break the circuit when the
Current gets too high.
It is easy to reset the circuit breaker